## MDE PATAPSCO NUTRIENTS
Station Code | Sample ID | CBL | Collection Date | Collection Time | Layer | Depth | Characteristics | Nitrate+Nitrite | Ammonium | Phosphate | Alkalinity | Hardness | TP | TN | Chl-a | Phaeo
366 | Site-1 | Site-1 | 2019-04-15 | 9:30 | S | 0.1 |  | 2.87 | 0.075 | 0.0183 | 119.6 | 121.03 | 0.0892 | 3.18 | 12.549 | 12.6825
2 | Site-2 | Site-2 | 2019-04-15 | 10:40 | S | 0.1 |  | 4.01 | 0.031 | 0.0043 | 194.55 | 194.58 | 0.0559 | 4.29 | 9.879 | 10.4931
5 | Site-3 | Site-3 | 2019-04-15 | 11:25 | S | 0.1 |  | 3.53 | 0.027 | 0.0034 | 160.3 | 162.08 | 0.03 | 3.71 | 5.34 | 9.612
203 | Site-4 | Site-4 | 2019-04-15 | 12:01 | S | 0.1 |  | 5.11 | 0.044 | 0.0053 | 228.4 | 341.72 | 0.0456 | 5.37 | 4.806 | 5.8473
1 | Site-5 | Site-5 | 2019-04-15 | 9:40 | S | 0.1 |  | 3.12 | 0.031 | 0.0034 | 159.5 | 165.38 | 0.0239 | 3.16 | 5.34 | 5.874
87 | Site-6 | Site-6 | 2019-04-15 | 10:15 | S | 0.1 |  | 0.454 | 0.017 | 0.0039 | 25.9 | 31.34 | 0.0134 | 0.65 | 4.272 | 1.5593
180 | Site-7 | Site-7 | 2019-04-15 | 10:50 | S | 0.1 |  | 3.47 | 0.039 | 0.0055 | 147.15 | 149.95 | 0.0629 | 3.69 | 17.088 | 17.1147
157 | Site-8 | Site-8 | 2019-04-15 | 11:30 | S | 0.1 |  | 3.51 | 0.041 | 0.0034 | 143.7 | 159.88 | 0.0475 | 3.75 | 13.4568 | 15.4006
5 | Site-9 | Site-9 | 2019-04-15 | 11:45 | S | 0.1 |  | 5.95 | 0.104 | 0.0034 | 270.2 | 307.62 | 0.0225 | 6.59 | 4.9128 | 2.4137
51 | Site-10 | Site-10 | 2019-04-15 | 12:15 | S | 0.1 |  | 3.58 | 0.033 | 0.0034 | 148.7 | 177.57 | 0.028 | 3.82 | 7.0488 | 9.6974
|  | Number |  |  |  |  | Results Units | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | ug/L
[7 empty] | Result Sample Fraction | Dissolved | Dissolved | Dissolved | Whole | Whole | Whole | Whole | Particulate | Particulate
[7 empty] | Result Analytical Method Context | ASTM | EPA | EPA | ASTM | EPA | EPA | EPA | EPA | EPA
[7 empty] | Result Analytical Method ID | D-7781 | 350.1 | 365.1 | D7573-09 | 130.1 | 365.1 | 352.3 | 446 | 446
[7 empty] | Limit of Detection | 0.0057 | 0.013 | 0.0034 | 0.75 | 1.35 | 0.0015 | 0.05 | 0.62 | 0.74
[7 empty] | Method Speciation | as N | as N | as P | as CO3 |  | as P | as N | as Chl-a | as Phaeo

## Checks
N & P Checks
| Nitrate+Nitrite | Ammonium | TN | DIFF | TP | Phosphate | DIFF
| mg/L | mg/L | mg/L | TN-DIN | mg/L | mg/L | TP-DIP
| Dissolved | Dissolved | Whole |  | Whole | Dissolved
| ASTM | EPA | EPA |  | EPA | EPA
| D-7781 | 350.1 | 352.3 |  | 365.1 | 365.1
| 0.0057 | 0.002 | 0.05 |  | 0.0015 | 0.0006
| as N | as N | as N |  | as P | as P
Site-1 | 2.87 | 0.075 | 3.18 | 0.235 | 0.0892 | 0.0183 | 0.0709
Site-2 | 4.01 | 0.031 | 4.29 | 0.249 | 0.0559 | 0.0043 | 0.0516
Site-3 | 3.53 | 0.027 | 3.71 | 0.153 | 0.03 | 0.0034 | 0.0266
Site-4 | 5.11 | 0.044 | 5.37 | 0.216 | 0.0456 | 0.0053 | 0.0403
Site-5 | 3.12 | 0.031 | 3.16 | 0.009 | 0.0239 | 0.0034 | 0.0205
Site-6 | 0.454 | 0.017 | 0.65 | 0.179 | 0.0134 | 0.0039 | 0.0095
Site-7 | 3.47 | 0.039 | 3.69 | 0.181 | 0.0629 | 0.0055 | 0.0574
Site-8 | 3.51 | 0.041 | 3.75 | 0.199 | 0.0475 | 0.0034 | 0.0441
Site-9 | 5.95 | 0.104 | 6.59 | 0.536 | 0.0225 | 0.0034 | 0.0191
Site-10 | 3.58 | 0.033 | 3.82 | 0.207 | 0.028 | 0.0034 | 0.0246